## Sheet1
Linearity Data
point removed from calibration curve
Concentration (ug/L) | Run 1 (5/11/18) |  |  | Run 2 (6/11/18) |  |  | Run 3 (7/11/18) |  |  | Run 4 (9/11/18) |  |  | Run 5 (12/11/18) |  |  | Run 6 (13/11/18) |  |  | Run 7 (15/11/18) |  |  | Run 8 (16/11/18) |  |  | Run 9 (19/11/18) |  |  | Run 10 (20/11/18) |  |  | Run 11 (21/11/18) |  |  | Run 12 (22/11/18) |  |  | Run 13 (26/11/18) |  |  | Average Peak Area Ratio
| Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area |  |  | Peak Area
| THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio | THC | THC-d3 | Ratio
1 | 4211 | 8076 | 0.521 | 5644 | 12167 | 0.463 | 4836 | 10548 | 0.458 | 3868 | 7986 | 0.484 | 4170 | 7527 | 0.554 | 5441 | 10090 | 0.539 | 4867 | 9519 | 0.51129 | 2629 | 4891 | 0.53752 | 5075 | 8519 | 0.59573 | 4951 | 9720 | 0.50936 | 4427 | 7449 | 0.59431 | 4387 | 9024 | 0.48615 | 5315 | 11767 | 0.45169 | 0.51577
1.5 | 3572 | 4795 | 0.744 | 5686 | 8451 | 0.672 | 5634 | 8359 | 0.674 | 2101 | 2808 | 0.748 | 5451 | 6585 | 0.827 | 6140 | 7849 | 0.782 | 5887 | 7303 | 0.80611 | 4254 | 5570 | 0.76373 | 5511 | 7065 | 0.78004 | 7051 | 9532 | 0.73972 | 7214 | 9656 | 0.7471 | 6674 | 9436 | 0.70729 | 7910 | 10713 | 0.73836 | 0.74841
2 | 6046 | 6114 | 0.988 | 8686 | 9377 | 0.926 | 6192 | 7025 | 0.881 | 10707 | 10432 | 1.026 | 7164 | 6568 | 1.09 | 6094 | 5795 | 1.051 | 8121 | 7994 | 1.0159 | 3823 | 3835 | 0.99687 | 7403 | 6636 | 1.1156 | 8911 | 8839 | 1.0081 | 9350 | 7638 |  | 9711 | 10252 | 0.94723 | 9863 | 10490 | 0.94023 | 0.99883
2.5 | 10604 | 9546 | 1.11 | 12704 | 10997 | 1.155 | 10457 | 9704 | 1.077 | 11583 | 9366 | 1.265 | 9733 | 7193 | 1.353 | 7071 | 5485 | 1.289 | 9972 | 7771 | 1.2832 | 7349 | 5933 | 1.2387 | 9925 | 7635 | 1.2999 | 11878 | 9558 | 1.2427 | 12475 | 9915 | 1.2582 | 10920 | 9499 | 1.1496 | 13474 | 11472 | 1.1745 | 1.2228
3 | 7262 | 5203 | 1.394 | 14921 | 10878 | 1.371 | 10741 | 8000 | 1.342 | 12319 | 7713 | 1.597 | 12498 | 7354 | 1.699 | 10685 | 6626 | 1.612 | 11975 | 7772 | 1.5408 | 7093 | 4688 | 1.513 | 10793 | 6507 | 1.6587 | 12807 | 8339 | 1.5358 | 13777 | 9083 | 1.5168 | 13483 | 9214 |  | 14758 | 10210 | 1.4454 | 1.5188
4 | 12733 | 6417 | 1.984 | 15211 | 7964 | 1.909 | 16715 | 9240 | 1.808 | 14522 | 6925 | 2.097 | 18432 | 8547 | 2.156 | 12859 | 6478 | 1.985 | 15590 | 7613 | 2.0478 | 8339 | 3821 | 2.1824 | 15198 | 7184 | 2.1155 | 17879 | 8535 | 2.0948 | 17262 | 8686 | 1.9873 | 19445 | 11295 | 1.7216 | 20440 | 9818 |  | 2.0074
5 | 18233 | 7615 | 2.394 | 18216 | 7890 | 2.308 | 19336 | 8711 | 2.219 | 22332 | 8767 | 2.547 | 27532 | 9992 | 2.755 | 18860 | 7213 | 2.614 | 22301 | 8872 | 2.5136 | 9489.4773 | 3721 | 2.5502 | 19778 | 7377 | 2.681 | 20216 | 8084 | 2.5007 | 20785 | 8117 | 2.5607 | 20130 | 9275 | 2.1704 | 22911 | 10195 | 2.2473 | 2.4662
6 | 20754 | 7185 | 2.888 | 25478 | 9524 | 2.675 | 30079 | 10897 | 2.76 | 29842 | 9506 | 3.139 | 28617 | 8926 | 3.206 | 22088 | 6969 | 3.169 | 21537 | 6973 | 3.0886 | 8062 | 2437 | 3.3082 | 20879 | 6680 | 3.1256 | 25946 | 8464 | 3.0655 | 22907 | 7256 | 3.157 | 26100 | 9852 | 2.6492 | 29642 | 9989 | 2.9675 | 3.0153
8 | 25608 | 6547 | 3.911 | 35950 | 9886 | 3.636 | 36524 | 9571 | 3.816 | 41252 | 9728 | 4.24 | 42611 | 9557 | 4.458 | 29939 | 6992 | 4.281 | 27846 | 6580 | 4.2319 | 15556 | 3753 | 4.145 | 28567 | 6867 | 4.16 | 30609 | 7369 | 4.1538 | 35908 | 8534 | 4.2076 | 30949 | 8466 | 3.6557 | 41717 | 11159 | 3.7384 | 4.0488
10 | 30084 | 6135 | 4.903 | 34261 | 7522 | 4.554 | 43232 | 8808 | 4.908 | 45633 | 8503 | 5.366 | 52715 | 9557 | 5.515 | 33348 | 6412 | 5.2 | 40408 | 7813 | 5.1719 | 22061 | 4469 | 4.9365 | 34353 | 6699 | 5.1281 | 49947 | 9352 | 5.3408 | 39393 | 7882 | 4.9978 | 43255 | 9569 | 4.5203 | 47392 | 10547 | 4.4934 | 5.0027